The CHANDLER Project

Jonathan Link

Virginia Tech, Blacksburg, VA 24061-0435, USA

Abstract:

CHANDLER is a new reactor neutrino detector technology composed of highly-segmented and optically-connected plastic scintillating cubes, and thin sheets of lithium-6-loaded zinc sulfide scintillator to tag neutrons.  The detector is readout by total internal reflection, which preserves information on the event location down to the cube level.  This talk will describe the CHANDLER technology, highlighting its benefits for surface level detection, and rapid, low-risk, low-maintenance deployments.  Results from the recent field test at the North Anna Nuclear Generating Station, in which the 80 kg, 80 channel MiniCHANDLER prototype successfully demonstrated reactor neutrino detection, including a spectral measurement will be discussed.  This result was achieved with essentially no shielding (less that 10 cm water equivalent) in a trailer parked about 25 meters from the center of the reactor core.  A key to the success of this program was the use of event selections base on the unique topology of the inverse beta decay reaction, particularly the 511 keV gammas from the positron annihilation, which were tagged and used to reject the leading background from the primary cosmic-ray fast neutrons.

This proof-of-principle was accomplished using a prototype detector constructed on a tight budget.  This talk will discuss plans for further research, including an upgrade of the MiniCHANDLER optics, which has been shown to improve the energy resolution by a factor of two, and a doubling of the lithium-6 density, which should increase the capture efficiency by 35%.  Plans for a full-scale detector will also be discussed.