## Slide 1: MCNP simulation of ORELA transmission measurements
S. Kopecky
INDEN meeting, Dec. 2020

## Slide 2: ORELA target
S.N. Cramer and F.G Perey

## Slide 3: Resolution function – ORELA target
The ratio of “tail” to peak for the resolution function at 500 keV is influenced by collimation conditions,
(Prob. Density normalized on the full energy range)

## Slide 4: Olsen U-238 – testing of model
Different flight path length, Li-glass detector – simulation transmission measurement, using correct experimental condition agrees with real measurement
[eV]

## Slide 5: Harvey (1975) – 2” nat. Fe
I assume it’s a 2 cm Ne-110 detector used in the experiment – documentation is not clear – size of detector has some effect on overall resolution – but generally speaking the effect of resolution seems to be not very large – still to be checked in more detail

## Slide 6: Harvey (1975) – 2” nat. Fe

## Slide 7: Harvey (1975) – 2” nat. Fe

## Slide 8: Harvey (1975) – 2” nat. Fe

## Slide 9: Harvey (1975) – 2” nat. Fe

## Slide 10: Summary
  MCNP simulation of transmission experiments performed at ORELA
  ORELA resolution function using geometry as described by Cramer and Perey (International Conference on Monte Carlo methods in neutron and photon transport)
  Model and procedures tested and validated with U-238 transmission measurement of Olsen (energies below 1 keV)
  Fe experimental data of Harvey (1975) Exfor entry 13765 subentry 1 have been simulated
  Documentation on detector not very clear (most likely 2cm Ne-110), some (small) influence on overall resolution function
  Unknown collimation has some impact on resolution function. Overall impact of resolution function not significant (tested with point detector and point source) , i.e. doesn’t influence the general observations – but not quantified yet
  JEFF33, ENDFB-8 tend to overestimate the transmission through iron windows below 800 keV ,
  Two subentries use a Be-block target – reach higher neutron energies, resolution function not calculated yet

## Slide 11: Keep in touch
EU Science Hub: ec.europa.eu/jrc
@EU_ScienceHub
EU Science Hub – Joint Research Centre
EU Science, Research and Innovation
Eu Science Hub
Notes: Delete/update as appropriate

## Slide 12: Thank you
© European Union 2020
Unless otherwise noted the reuse of this presentation is authorised under the CC BY 4.0 license. For any use or reproduction of elements that are not owned by the EU, permission may need to be sought directly from the respective right holders.
Slide xx: element concerned, source: e.g. Fotolia.com; Slide xx: element concerned, source: e.g. iStock.com
Notes: Update/add/delete parts of the copy right notice where appropriate.
More information: https://myintracomm.ec.europa.eu/corp/intellectual-property/Documents/2019_Reuse-guidelines%28CC-BY%29.pdf

## Slide 13: EU countries
© European Union, 2016. Map produced by EC-JRC. The boundaries and the names shown on this map do not imply official endorsement or acceptance by the European Union.
0
500
1,000 Km
250