## Slide 1: Recent AMS measurements on neutron-induced reactions + outlook
A. Wallner
The Australian National University (ANU)
AMS
neutrons
in collaboration with:
KIT (Karlsruhe): F. Käppeler, I. Dillmann
IRMM / Geel: A. Plompen, A. Krasa
IKI Budapest: T. Belgya, L. Szentmiklosi
TU Vienna: M. Bichler
TSL Uppsala: A. Prokofiev et al.
ANU (Canberra): L.K. Fifield, S. Tims, M. Froehlich
VERA (Vienna): K. Buzcak, F. Quinto, P. Steier, S. Winkler, C. Lederer
ETH Zurich: M. Christl, J. Lachner
ANSTO/Sydney: M. Hotchkis
Univ. Heidelberg: J. Lippold
IAEA: R. Capote , V. Semkova
+ BR1 / ILL / FRM-2 / SARAF …

## Slide 2: Accelerator mass spectrometry (AMS)
= single atom counting

## Slide 3: Some radionuclides measured with AMS
fundamental physics
applied sciences
55Fe 2.7 years
3H 12.3
44Ti 60
63Ni 100
32Si 140
39Ar 269
14C 5 730
59Ni 75 000
41Ca 104 000
81Kr 230 000
79Se 280 000
36Cl 301 000
26Al 720 000
10Be 1 388 000
60Fe 2 600 000
53Mn 3 600 000
182Hf 8 900 000
129I 17 000 000
236U 23 000 000
239-244Pu, 247Cm - 81 000 000
new: 55Fe, 68Ge, 93Zr, 99Tc, 106Pd, 135Cs, 146Sm, 202Pb, 210mBi, 226Ra, 229Th, stable…

## Slide 4: AMS at different labs
ANU/Canberra
Vienna
ETH Zurich
ANSTO Sydney

## Slide 5
(I) Neutron irradiations:
  IRMM Geel: 7 MV Van de Graaff: (T(p,n)3He: En = 0.5 – 2.5 MeV)
  IRMM Geel: 7 MV Van de Graaff: (D(d,n)3He: En = 2 – 5 MeV)
  IRMM Geel: 7 MV Van de Graaff: (T(d,n)4He: En = 18 – 22 MeV)
  IK Karlsruhe: 3.7 MV Van de Graaff: 7Li(p,n)7Be: 25 keV Maxwell- Boltzmann, 120 keV, 180 keV, 500 keV, ...)
  TU Dresden/Rossendorf: 300 kV (T(d,n)4He: En = 13.3 – 14.9 MeV)
  Atominstitut Vienna: research reactor, thermal neutrons
  IKI Budapest: thermal neutrons; cold neutrons
Activation (I) → AMS-Measurement (II) fusion / fission / ADS products / nuclear astrophysics
II) atom counting of the reaction products using the most sensitive technique of AMS
(I) Most resent neutron irradiations:
  BR1 / ILL Grenoble / FRM II Munich: thermal neutrons; cold neutrons
  SARAF / Israel: 25 – 40 keV neutrons; Maxw. Boltzmann broad distribution

## Slide 6: keV activations (KIT) & AMS

## Slide 7: JRC: 0.5 – 5 MeV neutron spectrum

## Slide 8: JRC/Geel – fast neutron spectrum
Chart: Neutron energy [MeV]

## Slide 9: How to derive cross sections?
AMS
monitor reaction (Au)
AMS: mg samples
AMS: single atom counting

## Slide 10: 236U & 239U: Production & Decay
236U: t1/2 = 23.4 Myr
239U: t1/2 = 23.5 min
239Np: t1/2 = 2.35 days
239Pu: t1/2 = 24.1 kyr

## Slide 11: 238U(n,g)239U -> 239Np -> 239Pu (24 kyr)
IKI
FZK
232Th(n,g)233Th -> 233Pa -> 233U (159 kyr)- simultaneously
IRMM

## Slide 12: Fast neutron induced reactions: Th / U
U/Th simultaneously – the same geometry – the same fluence – (n,3n), (n,4n), (n,2n), (n,a) in the same irradiation
IRMM
IRMM

## Slide 13: 232Th & 238U: Production & Decay: (n,x)
231Th: t1/2 = 25.5 h
231Pa: t1/2 = 32.8 kyr
229Th: t1/2 = 7.88 kyr
236U: t1/2 = 23.4 Myr
237U: t1/2 = 6.75 days
237Np: t1/2 = 2.14 Myr
fast n

## Slide 14: Analytical Strategy - Th
Sample
Chemical separation of Th / Pa & U
AMS
238U and 233Pa spike
231Pa / 233Pa
233U / 238U
232Th(n,2n)231Th
232Th(n,g)233Th
229Th / 232Th
232Th(n,4n)229Th
232Th(n,a)229Ra

## Slide 15
Status 232Th(n,g)233Th & 238U(n,g)239U for 0.5 / 1.0 / 2.1 / 5.0 MeV
AMS @ ANU finished - for both reactions and all energies
AMS ratio measurements: uncertainties 5% – 15%
still pending: careful check of neutron energy distribution for final fluence / cross section values
o) low energy component in the distribution
o) T(p,n) reaction for neutron production (0.5, 1.0 & 2.1 MeV)
o) D(d,n) reaction for neutron production (2.1 & 5.0 MeV)
IRMM & AMS at the ANU
Notes: The 238U(n,γ) cross-section values show discrepancies between the different evaluations and they differ also to experimental data above 2 MeV. The evaluations themselves exhibit differences of 10% (ENDF vs JEFF) for neutron energies around 500 keV and this steadily increases to 30% at 3 MeV and to 50% at 5 MeV (see Fig.1). For Th similar conclusions can be drawn: The experimental data points show a larger scatter and no experiments are listed in EXFOR for energies above 2.7 MeV (Fig. 2).
197Au(n,g) cross section standard
Above 2 MeV the normalization will be to the H(n,n)H and/or U-235/238 standard cross sections by using a transfer detector. For the entire energy range this will imply the use of the time-of-flight technique and/or the distance variation method using activation foils (Au, In, Fe) checked against a primary fluence standard (H(n,n)H and one of 235U(n,f) and 238U(n,f)).

## Slide 16
238U(n,g)239U

## Slide 17
232Th(n,g)233Th

## Slide 18: First results - 238U(n,3n)236U
17.55 and 20.05 MeV: AMS 2-3% reproducibility
Recently at CIAE another AMS measurement for 14 MeV

## Slide 19: New AMS results: 238U(n,3n)

## Slide 20: First results - 232Th(n,2n)231Th
17.55 MeV: AMS finished - 3x AMS (Vienna, Zurich, Sydney)
18.80 MeV: AMS finished - 3x AMS (Vienna, Zurich, Sydney)
20.05 MeV: AMS finished - 3x AMS (Vienna, Zurich, Sydney)
22.00 MeV: AMS finished - 3x AMS (Vienna, Zurich, Sydney)
17.55 - 22 MeV: AMS 2 – 6 % reproducibility

## Slide 21: First results - 232Th(n,4n+a)229Th

## Slide 22: First results - 232Th(n,4n+a)229Th

## Slide 23: 13C(n,g) and 14N(n,p) & AMS of 14C

## Slide 24: 54Fe(n,g)55Fe
Anchor point!
complements TOF data

## Slide 27: Comparison AMS – other meas. / ENDF
AMS data (not U) relative to Au- Ratynski-Käppeler for 25 keV
all activations with the same geometry at KIT – as used in “Ratynski & Käppeler

## Slide 28: typical AMS-spectrum for Pu measurements
242Pu5+
239Pu5+
clear isotope separation -
Pu: no isotopic interference
U-sensitivity: 236U/238U<10-12
Significant improvements in AMS in the last few years
Sensitivity increased by >> 10×
Efficiency improved by > 10-100×
Reproducibility < 2-3 %

## Slide 29: Measurement of Cross Sections
Online method
detection of prompt -rays of reaction product (characteristic)
(or: recoil separator technique)
if continous E-distribution: + TOF
all reaction products accessible
radioactive beams
Offline method
activation technique: prior irradiation
quasi-stellar spectrum at once
sensitive technique
  detect reaction / products
  needs radioactive samples (not too long half-life)
  atom counting (AMS)
  related to few applications
  most sensitive
different systematic uncertainties involved

## Slide 31: 244Pu AMS measurement: Collaboration Mike Hotchkis (ANSTO)
Pu extracted with mg Fe
Analysed for all Pu isotopes
Anthropogenic: 239,240,241Pu
Spike: 242Pu
Interstellar & anthropog.: 244Pu
overall efficiency: 0.5 – 1%
Sensitivity: 10-21 g Pu / sample!

## Slide 32: Conclusion
AMS represents an independent method for studying nuclear reactions leading to long-lived radionuclides
direct method: atom counting as isotope ratio; i.e. no sophisticated data reduction or corrections required
not a universal method – AMS is used for some 30 radionuclides
if it can be applied – usually very (the most) sensitive method
can serve as a tool to provide some anchor points

## Slide 33: AMS for PFNS – mapping the high energy part? – SPA data via integral experiments
AMS - reaction products long-lived
long-term activations possible
threshold reactions – probe the poorly known high-energy tail of U/Cf spectra
possible candidates:
  27Al(n,2n)26Al (Eth=13.56 MeV)
  238U(n,3n)236U; [238U(n,2n)237U->237Np] (Eth=11.33 MeV)
  56Fe(n,2n)55Fe (Eth=11.40 MeV)
  54Fe(n,2n)53Fe -> 53Mn (Eth=13.65 MeV)
  55Mn(n,2n)54Mn (312 days)
  52Cr(n,2n)51Cr (27.7 days)

## Slide 35
244Pu (t1/2=80 Myr)
244Pu in terrestrial crust (+ AMS at Vienna):
crust: dust collection over 25 Myr
244Pu: time window - alive a few 100 Myr
neutron star mergers or other rare process
100:1 estimated vs measured
→ Actinides on Earth (U, Pu, … may be from a rare event!
Other planets:
x) Earth’s core heating!
x) Nuclear technology

## Slide 36: Comparison AMS – other meas. / ENDF
AMS data (not U) relative to Au- Ratynski-Käppeler for 25 keV
all activations with the same geometry at KIT – as used in “Ratynski & Käppeler

## Slide 37: AMS: limitations
isotope ratios (e.g. 236U/238U) measured:
  interference with background: < 10-12 for 236U
    isobaric interference (e.g. 235UH) – not an issue for AMS
    isotopic interference (e.g. 235U, 238U): e.g. 236U/238U < 10-12
    possibly m/q interference (count-rate interference - detector busy)
number of nuclei in sample
  determines statistical uncertainty
  typical overall efficiency: 10-2 - 10-4

## Slide 38: Examples - limitations
U: isotope ratios
20 mg irradiated with 1015 n; 700 mb
236U/235U = 7*10-10
236U/238U = 5*10-12
N236 = 3*108 -> AMS: > 105 counts in detector
U: number of nuclei; example: 238U(n,)239U -> (0.5 h) -> 239Np -> (2.4 d) -> 239Pu (t1/2 = 24 000 a)
N239 = 107 ! (required for AMS counting -> >104 detected)
 = 1barn*1015 n cm-2
= 10-9
N238 = N239 /  (required U-atoms)
= 1016 ats (4 ug material) + extraction of 239Pu from U-bulk (with well-known spike)

## Slide 39: Extension to other minor actinides
U: isotope ratios
20 mg irradiated with 1015 n cm-2; 700 mb
236U/235U = 7*10-10
236U/238U = 5*10-12 (natural sample)
N236 = 3*108 atoms -> AMS: ~ 106 counts in detector
Am: example: 241Am(n,)242gAm -> (16h) -> 242Cm (163 d)
N242 = 106 ! (required for AMS counting ->  104 detected)
 = 700 mb*1015 n cm-2
= 7*10-10
N241 = N242 / 
= 1015 ats (< 1 ug material) + !! Extract Cm from Am-bulk!!
(400 cts ... 5 % statistics: 1015 ats (< 0.1 µg!)  Ion source contamination! (241Pu)

## Slide 41
244Pu (t1/2=80 Myr)
244Pu in terrestrial crust (+ AMS at Vienna):
crust: dust collection over 25 Myr
244Pu: time window - alive a few 100 Myr
neutron star mergers or other rare process
100:1 estimated vs measured

## Slide 42: 60Fe from sediments and crusts
Deep-sea sediments
Deep-sea crusts
Deep-sea nodules
60Fe flux
Knie et al. 2004
Nature 2016

## Slide 43: New 244Pu data – new Crust2 and 3

## Slide 45: ANU (15 MV) - Canberra VERA (3 MV) - Vienna

## Slide 46: ANU’s AMS facility

## Slide 47: European collaborations
AMS in Vienna/VERA or at the ANU – neutron activations at IRMM / KIT / BRR / PTB

## Slide 48: Motivation: 235,8U(n,x)/ 232Th(n,x): En>thermal
ratio of capture to fission of the fissile isotopes
existing data: via TOF and detections of prompt -rays
multiple scattering corrections due to large sample size in previous exp.?
HPRL (NEA) listed
discrepancies above thermal En
activation + AMS (accelerator mass spectrometry) is an independent method; no influence from fission channel
new method – very sensitive → independent uncertainties
MANTRA: Cross-Sections from Th to Cf with AMS – ANL
X. Wang et al: 238U(n,3n) at 14 MeV – CIAE

## Slide 49: 232Th(n,g)233Th
0.3 – 0.8 MeV 1.5 – 10 MeV

## Slide 50: (n,3n) for 238U and 232Th

## Slide 52: Extraterrestrial Radionuclides on Earth
Can we find isotopic fingerprints of the ISM (interstellar medium) in terrestrial archives?
Radionuclides contain time information as they can serve as radioactive clocks!

## Slide 53
A mahogany plantation near Darwin
– the result of 140 mm of rain in 24 hours
Plutonium-labelled soil in motion

## Slide 55
Status 232Th(n,g)233Th & 238U(n,g)239U for 0.5 / 1.0 / 2.1 / 5.0 MeV
AMS @ ANU finished - for both reactions and all energies
AMS ratio measurements: uncertainties 5% – 15%
still pending: careful check of neutron energy distribution for final fluence / cross section values
o) low energy component in the distribution
o) T(p,n) reaction for neutron production (0.5, 1.0 & 2.1 MeV)
o) D(d,n) reaction for neutron production (2.1 & 5.0 MeV)
AMS at the ANU
Notes: The 238U(n,γ) cross-section values show discrepancies between the different evaluations and they differ also to experimental data above 2 MeV. The evaluations themselves exhibit differences of 10% (ENDF vs JEFF) for neutron energies around 500 keV and this steadily increases to 30% at 3 MeV and to 50% at 5 MeV (see Fig.1). For Th similar conclusions can be drawn: The experimental data points show a larger scatter and no experiments are listed in EXFOR for energies above 2.7 MeV (Fig. 2).
197Au(n,g) cross section standard
Above 2 MeV the normalization will be to the H(n,n)H and/or U-235/238 standard cross sections by using a transfer detector. For the entire energy range this will imply the use of the time-of-flight technique and/or the distance variation method using activation foils (Au, In, Fe) checked against a primary fluence standard (H(n,n)H and one of 235U(n,f) and 238U(n,f)).

## Slide 56
238U(n,g)239U

## Slide 57
232Th(n,g)233Th

## Slide 58: First results - 238U(n,3n)236U
17.55 MeV: AMS finished - ± 2%
20.05 MeV: AMS finished - ± 2%
! Preliminary data: ca. 3-4x previous values ? – 17.55 MeV: “s = (2.69 ± 0.05) barn“
– 20.05 MeV: “s = (3.05 ± 0.05) barn”
?
1 set of experimental data or no data at all.
Fluence! ↔ number of neutrons/sample

## Slide 59: First results - 232Th(n,2n)231Th
17.55 MeV: AMS finished - 3x AMS (Vienna, Zurich, Sydney)
18.80 MeV: AMS finished - 3x AMS (Vienna, Zurich, Sydney)
20.05 MeV: AMS finished - 3x AMS (Vienna, Zurich, Sydney)
22.00 MeV: AMS finished - 3x AMS (Vienna, Zurich, Sydney)
(pending: normalisation)

## Slide 60: First results - 232Th(n,4n+a)229Th

## Slide 61: ESA/NASA
SN-rate in our galaxy:
2 per century
1 SN per 3 Myr within 100 pc to Earth
diameter: 40,000 pc (130,000 Lyr)
galaxy

## Slide 62: 244Pu – monitor of heavy r process nucleosynthesis
Z
N
s & r process
Neutron capture:
slow neutron capture (s process)
rapid neutron capture (r process)
r process only

## Slide 63
Cosmogenic nuclides
e.g. 7Be, 10Be, 14C, 21Ne, 26Al, 36Cl from O, N, Ar
Earth and Space Science
• Terrestrial cosmogenic nuclide production
• Atmospheric processes
• Paleoclimatology
• Geomorphology
• Neotectonics
• Glaciology
• Hydrology (ground water dating)
• Cosmic ray exposure of meteorites
• Solar variability

## Slide 64: Pu, U in Environmental Samples Motivation
Pu & U isotopic composition: "fingerprint" of different sources (anthropogenic)
    atmospheric weapons testing
    direct discharge of radioactive wastes
    accidental release
    minor sources: … low-level radioactive waste disposal, slight leakage from nuclear power plants
    erosion studies via Pu-spikes from 60ies (soil and sediment transport & movement)
    Nuclear forensics, uranium exploration, biological uptake of actinides, ocean currents, …

## Slide 65: Isotope ratios
and: 238,241,242,244Pu/239Pu, 236U/238U in the environment as sensitive markers
-- fingerprints --

## Slide 66: Summary / Status

## Slide 67: Summary / Status

## Slide 68: Comparison with recent high precision GELINA data and n_TOF (2016)
25 keV: KIT & AMS: 391 +- 17 mbarn
25 keV: GELINA: 407 +- 10 mbarn
n_TOF: 238U(n,g) – new data 1 eV – 700 keV; see F. Mingrone:
    25 keV: very good agreement
    0.46 MeV: KIT/AMS is 10% lower
    0.52 MeV: JRC/AMS is close to n_TOF

## Slide 69: 238U(n,g)239U - new data

## Slide 70: (II) Nucleosynthesis in the laboratory
(I) sample exposure
(II) AMS: analysis
stellar nucleosynthesis → laboratory studies
e.g. activation

## Slide 71: Fe – AMS data
long-lived reaction
products:
  56Fe(n,2n)55Fe
  54Fe(n,2n)53Fe [→ 53Mn]
  54Fe(n,g)55Fe
  54Fe(n,np+d)53Fe → 53Mn
  58Ni(n,a)55Fe
55Fe - AMS: ± 2%
addendum:
new data: 14 – 20 MeV

## Slide 72: 53Fe / 53Mn
53Mn: t1/2 = 3.7 My