## Slide 1
Comment on the renormalization of absolute alpha-particle energies
Daniel Abriola
Tandar Lab.
Buenos Aires, Argentina

## Slide 2
TANDAR
Renormalization of absolute measurements of a-particle energies (re-analyzed)
  Check of 144-Sm datasets
  Spectrometer measurements
  Fundamental constants
  Renormalization of old data
  Conclusions
Outline

## Slide 3
TANDAR

## Slide 4
TANDAR
1991RY01

## Slide 5
TANDAR
1991RY01
Not explained

## Slide 6
TANDAR
1980RYZX
H= H´/g
H: Magnetic field
H´: measured by NMR

## Slide 7
TANDAR
1991RY01

## Slide 8
TANDAR
Br = p/q
Non-relativistic energy formula:
E´= q2/ma (Br)2
Relativistic formula:

## Slide 9
TANDAR
1961RY02
a

## Slide 10
TANDAR
1971GR17

## Slide 11
TANDAR
E = E´ (1+ b/a (Br)2+ d/a (Br)4
E = E´ (1+ b/a2 E´+ d/a3 E´2)
E = E´ (1- a/4c2 106 E´+ a2/8c4 1012 E´2)

## Slide 12
TANDAR
H= H´/g
E´= a.(Hr)2
Relativistic

## Slide 13
TANDAR
E´)1961= a/g2)1961 (nr)2
E´)2015= a/g2)2015 (nr)2
For the same measurement now
To renormalize 1961 data to 2015 values of FC:
E´)2015= a/g2)2015/ a/g2)1961 E´)1961
Correction factor: f

## Slide 14
TANDAR
Chart: 
| 1961 | 1970 | 1973 | 1991 | 2015 | 2015
factor | 0.33687 | 0.33685 | 0.33685 | 0.33684 | 0.33684 | 0.33684
Actual value from 1961Ry02 f=0.33696
(off-scale) gives -2.33 keV correction!

## Slide 15
TANDAR
Parent | E (Original) | Ref | E(1991Ry01) | Adj. | This Work Adj. | This Work Energy
148-Gd | 3182.787(24) | 73GO | 3182.680(24) | -0.107 | -0.1055 | 3182.682(24)
210-Po | 5304.51(7) | 73GO1 | 5304.33(7) | -0.18 | -0.1752 | 5304.33(7)
211-Bi | 6622.19(69) | 61Ry |  | -0.52 | -2.33 -0.225(1961Ry05) | 
 | 6623.1(6) | 71Gr | 6622.9(6) | -0.2 | -0.221 | 6622.4(6)w.a.
216-Po | 6778.5(5) | 71Gr | 6778.3(5) | -0.2 | -0.226 | 6778.3(5)
212-Bi | 6090.06(8) 6090.087(37) | 69Gr 72Go | 6089.879(34) | -0.20 -0.204 | -0.203 -0.203 | 6089.879(34)

## Slide 16
TANDAR
1991RY01
1961RY02

## Slide 17
TANDAR
1961RY02
Not used in 1991RY01
6621.85
6277.20
7686.60
8785.01

## Slide 18
TANDAR
Absolute alpha-particle energies were renormalized to 2015 values of FC.
  For 148Gd->144Sm 3182.680(24)->3182.682(24)
  For most energies (28-4) change is negligible (1 eV)
  Data from 1961Ry02 ad hoc normalization?
Conclusions

## Slide 19
TANDAR
Thank you!